# MAINTAINCE SHEET FOR GC-NET v3

| Station name: | DY2 |  | Date: | 30-04-2026 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| People present: | RSF, RABNI, IASTE, ARU, HETJA, ASNOR |  | Maintenance |  | Install | Take-down | Data Download |

| Weather: | Sunny, high clouds |
| --- | --- |

| METADATA |  |  |
| --- | --- | --- |
|  | Arrival | Departure |
| Download Data | YES / NO | NA |
| Time difference between logger and UTC (± mm:ss) | 00:12 | 00:00 |
| Screenshot of ‘Status’ table | YES / NO | YES / NO |
| Screenshot of ‘Public’ table in FastScan mode | YES / NO | YES / NO |
| Photos of mast, loggerbox and sensors (inc. radiometer serial) | YES / NO | YES / NO |

| STATION POSITON AND OREINTATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Arrival |  | Departure |
| Lower lufft height (see A) |  |  | 310 cm |  | 310 cm |
| Lower SR50 height (see A) |  |  | 280 cm |  | 280 cm |
| Upper lufft height (see A) |  |  | 425 cm |  | 425 cm |
| Upper SR50 height (see A) |  |  | 405 cm |  | 405 cm |
| Upper boom direction (towards radiometer, see B) |  |  | 340 degree mag. |  | 340 degree mag. |
| Lower boom direction (towards lufft, see B) |  |  | 250 degree mag. |  | 250 degree mag. |
| Upper wind sensor orientation (away from black box, see C) |  |  | Yes |  | Yes |
| Lower wind sensor orientation (away from black box, see C) |  |  | Yes |  | Yes |
| Radiometer across-boom tilt, looking at the front (see D) |  |  | 3 degree to left/west |  | Same |
| Mast tilt north-south axis |  |  | 4 degree down-north |  | Same |
| Mast tilt east-west axis |  |  | 5 degree to right/east |  | Same |
| Height of thermistor string pipe above surface |  |  | NA |  | ? cm |
| Depth of snowboard | 68 cm | Height of snowboard stake |  | 85 cm Vertical: YES / NO |  |

| Station name: | DY2 |  | Date: | 30-04-2026 |
| --- | --- | --- | --- | --- |

| STATION HARDWARE |  |  |  |
| --- | --- | --- | --- |
| To do? | Done? | Item | Comments |
| Update program | yes | Loggerbox | ID arrival: None ID departure: None |
| Replace | Yes | Modem IMEI | IMEI arrival: 300534063811780 IMEI departure: 300234010884770 |
| Replace | Yes | Radiometer | Serial arrival: 131455 Serial departure: 212890 |
|  |  | Wind sensor upper | Type arrival: Black / White Type departure: Black / White |
|  |  | Wind sensor lower | Type arrival: Black / White Type departure: Black / White |
| Replace | Yes | Lufft upper |  |
| Replace | Yes | Lufft lower |  |
| Replace | Yes | SR50 upper |  |
| Replace | Yes | SR50 lower |  |
| Extend |  | Thermistor string |  |
|  |  | Iridium antenna |  |
|  |  | Solar panel |  |
| Replace | Yes | Battery box | Burial under lower lufft: YES / NO Location if NO: |
| Extend | No | Mast | Unable to lift mast. Extension was unnecessary. |

NOTES (e.g. sensor damage, must-do at next visit)

Newest logger OS installed: OS 8.5.1 New snowboard top 145 cm No liquid GNSS installed