MAINTAINCE SHEET FOR Finapp, SnowFox + Power Station TS45

| Station name: | SR_DY2 |  | Date: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| People present: |  |  | Maintenance |  | Install | Take-down | Data Download |

| METADATA |  |  |
| --- | --- | --- |
|  | Arrival | Departure |
| Download Data | Y / N |  |
| Time difference between logger and UTC (± mm:ss) | : | : |
| Screenshot of ‘Status’ table | Y / N | Y / N |
| Screenshot of ‘Public’ table in FastScan mode | Y / N | Y / N |
| Photos of mast, loggerbox and sensors | Y / N | Y / N |

| STATION POSITON AND OREINTATION |  |  |
| --- | --- | --- |
|  | Arrival | Departure |
| Location of Finapp (pictures) |  |  |
| Location of Snowfox (pictures) |  |  |
| SR50 height |  |  |
| Mast tilt north-south axis |  |  |
| Mast tilt east-west axis |  |  |

NOTES:

| Station name: | SR_DY2 |  | Date: |  |
| --- | --- | --- | --- | --- |

| STATION HARDWARE |  |  |  |
| --- | --- | --- | --- |
| To do? | Done? | Item | Comments |
| Replace |  | Loggerbox | ID arrival: ID departure: M4-14 |
| Check |  | Modem IMEI | IMEI arrival: 3005 340 642 86800 IMEI departure: 3005 340 643 88790 |
| Check |  | Barometer |  |
| Install |  | SR50 |  |
| Install |  | Finapp |  |
| Replace |  | SnowFox |  |
| Check |  | Iridium Ant. |  |
| Check / Replace |  | Wind turbine | Check the plug, it looks damaged. Measured voltage using multimeter: |
| Check |  | Solar panel |  |
| Install |  | Power station (Battery box) |  |
| Install |  | Dump Load |  |
| Check |  | DC-DC Converter For the Finapp | ID arrival: ID departure: Is the green “ON LED” on during fast scan? Y / N |
| Check |  | DC Solid State Relay controls Snowfox power | Is the green LED ON during fast scan? Y / N |
| Extend |  | Mast |  |