# MAINTAINCE SHEET FOR GC-NET v3

| Station name: | KAN_U |  | Date: | 06-05-2026 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| People present: | RSF, RABNI, IASTE, ARU, ASNOR |  | Maintenance |  | Install | Take-down | Data Download |

| Weather: | Sunny, high clouds |
| --- | --- |

| METADATA |  |  |
| --- | --- | --- |
|  | Arrival | Departure |
| Download Data | YES / NO | NA |
| Time difference between logger and UTC (± mm:ss) | 0:11 | 0:0 |
| Screenshot of ‘Status’ table | YES / NO | YES / NO |
| Screenshot of ‘Public’ table in FastScan mode | YES / NO | YES / NO |
| Photos of mast, loggerbox and sensors (inc. radiometer serial) | YES / NO | YES / NO |

| STATION POSITON AND OREINTATION |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Arrival |  | Departure |
| Lower lufft height (see A) |  |  | 297 cm |  | 265 cm |
| Lower SR50 height (see A) |  |  | 270 cm |  | 222 cm |
| Upper lufft height (see A) |  |  | 422 cm |  | 390 cm |
| Upper SR50 height (see A) |  |  | 395 cm |  | 347 cm |
| Upper boom direction (towards radiometer, see B) |  |  | 334 degree mag. |  | 334 degree mag. |
| Lower boom direction (towards lufft, see B) |  |  | 244 degree mag. |  | 244 degree mag. |
| Upper wind sensor orientation (away from black box, see C) |  |  | Yes |  | Yes |
| Lower wind sensor orientation (away from black box, see C) |  |  | Yes |  | Yes |
| Radiometer across-boom tilt, looking at the front (see D) |  |  | NA |  | 2 degree to east |
| Mast tilt north-south axis |  |  | 5 degree down-north |  | 0 degree |
| Mast tilt east-west axis |  |  | 2.5 degree to left/west |  | 0 degree |
| Height of thermistor string pipe above surface |  |  | NA |  | 275 cm |
| Depth of snowboard | 60 cm | Height of snowboard stake |  | 82 cm Vertical: YES / NO |  |

| Station name: | KAN_U |  | Date: | 06-05-2026 |
| --- | --- | --- | --- | --- |

| STATION HARDWARE |  |  |  |
| --- | --- | --- | --- |
| To do? | Done? | Item | Comments |
| Update program | yes | Loggerbox | ID arrival: M3 – 07 ID departure: M3-07 |
|  |  | Modem IMEI | IMEI arrival: 300534062415410 IMEI departure: 300534062415410 |
|  |  | Radiometer | Serial arrival: 202703 Serial departure: 202703 |
| Replace | Yes | Wind sensor upper | Type arrival: Black / White Type departure: Black / White |
| Replace | Yes | Wind sensor lower | Type arrival: Black / White Type departure: Black / White |
| Replace | Yes | Lufft upper |  |
| Replace | Yes | Lufft lower |  |
| Replace | No | SR50 upper | Reused old sensor |
| Replace | Yes | SR50 lower |  |
| Replace | Yes | Thermistor string | Installed new thermistor string |
| Replace | Yes | Iridium antenna | Cable broke during maintenance |
|  |  | Solar panel |  |
|  |  | Battery box | Burial under lower lufft: YES / NO Location if NO: |
| Replace | Yes | Mast | Reused old top section |

NOTES (e.g. sensor damage, must-do at next visit)

We had no extension cable for thermistor, so we installed a new. New snowboard top 142 cm, bamboo stick: 216 cm Liquidice GNSS installed