| AWS to do list |  | Check after maintenance |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Part | Shipped (Y/N) | Replaced? (Y/N) | Number shipped/arrival | Number departure |  |
| Radiometer | Y | N |  | No radiometer | Clean? Y / N |
| Ablation hose assembly | N | N |  | No ablation hose | No air in hose and bladder half full? Y / N |
| Iridium modem IMEI number | N | N |  |  |  |
| Inclinometer/compass | N | N | Attached to the radiometer? Y / N |  |  |
| Satellite antenna | N | N |  |  |  |
| Wind sensor | N | N | Black box pointing toward the radiometer (i.e., along the boom)? Y / N |  |  |
| Temperature / humidity assembly | N | N | Fan spins? Y / N Sounds, OK? Y / N |  |  |
| HygroClip T/hum assembly | N | N | NB: Rotronics (Y / N) could have a 40 °C offset. New or old type? NB: Lufft sensor (Y / N) |  |  |
| Sonic ranger on AWS | Y | Y | Old sensor with new membrane? Y / N |  |  |
| Sonic ranger on stake | Y | Y | Old sensor with new membrane? Y / N NB: make sure not being buried next winter |  |  |
| Thermistor string | N | N |  |  |  |
| Solar panel | N | N | Clean? Y / N NB: is not effective when partially covered |  |  |
| GPS antenna | N | N | At top of logger enclosure? Y / N |  |  |
| Logger box ID | N | N | CR1000 or CR1000X? ID number: |  |  |
| Logger enclosure | N | N | Replaced (including everything inside)? Y / N New desiccant bags? Y / N |  |  |
| Battery box | New batteries from storage | Y | New box? Y / N New desiccant bags? Y / N |  |  |
| Stakes | N | N | New one(s) drilled in? Y / N Length of new stake(s) 8 m? Y / N |  |  |
| Tripod | N | N | New tripod? Y / N New sensor boom? Y / N |  |  |

| Station name | ZAC_U |
| --- | --- |
| People present | Signe, Anton |
| Purpose | Maintenance / installation / take-down / quick visit / emergency |
| Date | 18 april, 2025 |

Maintenance sheet version 10 for ablation area (tripod, one level)

Notes:

| Station name | ZAC_U |
| --- | --- |
| Date | 18 april, 2025 |

Metadata maintenance

|  | Arrival | Departure |
| --- | --- | --- |
| Time difference between logger clock and UTC (± mm:ss) |  | 0 |
| Download data and/or change CF/SD Card (wait for green light) | Y / N | Y / N |
| Name of logger program | PROMICEv3_Beta | PROMICEv3_Rewired_1_5 |
| Screen dump of values in fast scan mode | Y / N | Y / N |
| Photos of tripod, sensors, logger box wiring etc. (more is better) | Y / N | Y / N |
| Boom direction relative to north | true/magn. | true/magn. |
| Box on wind sensor exactly towards mast? If not, measure. | Y / N | Y / N |
| Radiometer exactly aligned with inclinometer? If not, measure. | Y / N | Y / N |
| Temperature / humidity height (bottom of casing – surface) | cm | cm |
| Stake assembly standing? | Y / N / sort of | Y / N / sort of |
| Free length of stake | 300 cm | 100 cm |
| Height of ablation bladder fluid level above the ice surface | cm | cm |
| Vertical difference in surface height (at station – at hose) (approx.) | cm | cm |
| Length of thermistor string on surface from surface marking | cm | cm |
| Apparent damage to sensors? If yes, which? | Y / N | Y / N |

Notes:

The box is actually not rewired  - so the loggerprogramme would not work for the thermistor – but since there is no thermistor, this is not an issue this year

Must-do at next visit:

Put lufft, consider if CNR4 is really necessary…

There is no hose, thermistor, tiltmeter or lufft installed. It keeps being knocked over by wind.

The station now has a wildlife cam – bring Lithium AA batteries (8 pieces) and an SD card (normal size) to swap.