## 2020
Serial number | Instrument type | Last calibrated (yr) | SRin_calcoef | SRout_calcoef | LRin_calcoef | LRout_calcoef | Located where | Installation year | Comment
PROMICE
202380 | CNR4 | 2020 | 14.02 | 12 | 14.54 | 11.8 | SCO_L | 2020
202383 | CNR4 | 2020 | 13.41 | 12.91 | 14.49 | 11.2 | SCO_U | 2020
071365 | CNR1 | 2016 | 11.43 | 11.43 | 11.43 | 11.43 | KAN_L | 2017
080161 | CNR1 | 2019 | 12.19 | 12.19 | 12.19 | 12.19 | UPE_L | 2020 | Check calibration year (FMI calibration?)
080024 | CNR1 | 2018 | 10.09 | 10.09 | 10.09 | 10.09 | NUK_K | 2018
030710 | CNR | 2017 | 11.89 | 11.89 | 11.89 | 11.89 | QAS_U AWSv2 | 2019
171514 | CNR4 | 2018 | 11.59 | 14.49 | 11.69 | 12.09 | QAS_M | 2018
171515 | CNR4 | 2018 | 12.69 | 13.07 | 11.67 | 14.1 | QAS_L | 2018
071367 | CNR1 | 2018 | 6.74 | 6.74 | 6.74 | 6.74 | UPE_U | 2018
131307 | CNR4 | 2019 | 16.94 | 10.77 | 13.39 | 11.97 | KPC_U | 2019
110562 | CNR4 | 2019 | 12.2 | 11.15 | 10.28 | 8.24 | KPC_L | 2019
171513 | CNR4 | 2018 | 11.54 | 11.07 | 13.74 | 11.7 | CEN | 2018
090115 | CNR4 | 2014? | 14.84 | 15.78 | 9.33 | 9.36 | THU_L | 2017
110561 | CNR | 2014 | 13.78 | 12.65 | 12.02 | 7.76 | THU_U | 2016 | Old THU_U
110723 | CNR | 2018 | 13.21 | 16.34 | 8.42 | 14.5 | THU_U2 | 2018 | New THU_U
080101 | CNR1 | 2013 | 12.71 | 12.71 | 12.71 | 12.71 | EGP | 2016 | CNR1 since 2016
131306 | CNR4 | 2016 | 11.63 | 12.04 | 10.54 | 12.02 | KAN_B | 2016
080099 | CNR1 | 2012 | 8.76 | 8.76 | 8.76 | 8.76 | KAN_M | 2012
171516 | CNR4 | 2018 | 12.87 | 14.79 | 11.92 | 14.57 | KAN_U | 2018
080163 | CNR1 | 2018 | 8.2 | 8.2 | 8.2 | 8.2 | NUK_U | 2019
080202 | CNR1 | 2017 | 9.24 | 9.24 | 9.24 | 9.24 | NUK_L | 2017
? | CNR1 |  | 11.42 | 11.42 | 11.42 | 11.42 | MIT | 2019 | Double check serial number and cal-coeff
171315 | CNR4 | 2018 | 15.47 | 13.29 | 12.12 | 10.92 | NUK_U AWSv3 | 2020 | Back to GEUS june 2021
212886 | CNR4 | 2020 |  |  |  |  | NUK_U AWSv3 | 2021
? | [6 empty] | QAS_U AWSv3 | 2019
171267 | CNR4 | 2019 | 13.35 | 13.86 | 13.67 | 14.84 | TAS_A | 2020
181891 | CNR4 | 2018 | 15.36 | 13.15 | 12.25 | 10.9 | TAS_L | 2019
GC-Net
202382 | CNR4 | 2020 | 12 | 18 | 14.03 | 11.63 | ? | 2020 | SWC or JAR1
202381 | CNR4 | 2020 | 13.29 | 12.83 | 13.79 | 13.87 | ? | 2020 | SWC or JAR1
212892 | CNR4 | 2021 | 14.8 | 12.8 | 11.2 | 11.89 | ? | 2021 | GC-Net
212887 | CNR4 | 2021 | 14.75 | 14.44 | 9.71 | 8.76 | ? | 2021 | GC-Net
212894 | CNR4 | 2021 | 12.94 | 13.16 | 11.06 | 9.64 | ? | 2021 | GC-Net
212895 | CNR4 | 2021 | 15.59 | 11.51 | 11.49 | 11.13 | ? | 2021 | GC-Net
212893 | CNR4 | 2021 | 15.72 | 12.18 | 10.94 | 11.46 | ? | 2021 | GC-Net
212888 | CNR4 | 2021 | 14.52 | 13.36 | 10.46 | 11.31 | ? | 2021 | GC-Net
212890 | CNR4 | 2021 | 12.66 | 13.9 | 8.55 | 11.26 | ? | 2021 | GC-Net
Glaciobasis
Other AWSs
080157 | CNR1 | 2019 | 8.5 | 8.5 | 8.5 | 8.5 | ?
080165 | CNR1 | 2019 | 11.73 | 11.73 | 11.73 | 11.73 | ?
080164 | CNR1 | 2019 | 8.43 | 8.43 | 8.43 | 8.43 | ?
150711 | CNR4 | 2018 | 12.79 | 12.65 | 14.07 | 10.76 | ?
150710 | CNR4 | 2018 | 14.16 | 12.83 | 11.36 | 11.72 | ?
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | ?
202705 | CNR4 | 2020 | 14.62 | 14.79 | 11.64 | 13.63 | ?
202704 | CNR4 | 2020 | 13.41 | 15 | 12.67 | 10.05 | ?
202706 | CNR4 | 2020 | 15.72 | 14.41 | 11.08 | 10.92 | ?
202379 | CNR4 | 2020 | 13.67 | 11.81 | 14.02 | 14.29 | ?
202703 | CNR4 | 2020 | 15.77 | 16.81 | 14.41 | 14.41 | ?
110722 | CNR4 | 2021 | 15.23 | 14.86 | 14.22 | 8.43 | ?
150710 | CNR4 | 2021 | 11.47 | 11.86 | 14.13 | 12.84 | ?
150711 | CNR4 | 2021 | 12.7 | 12.64 | 14.28 | 10.86 | ?
212886 | CNR4 | 2021 | 14.08 | 14.51 | 15.14 | 9.41 | ?
212891 | CNR4 | 2021 | 13.28 | 11.64 | 10.8 | 10.11 | QAS_L | 2021 | PROMICE
212889 | CNR4 | 2021 | 14.1 | 14.32 | 10.55 | 11.71 | ?
Discontinued Instruments
080157 | CNR1 | [7 empty] | Discontinued in 2021
080165 | CNR1 | [7 empty] | Discontinued in 2021
080100 | CNR1 | [7 empty] | Discontinued in 2021
071368 | CNR1 | [7 empty] | Discontinued in 2021

## 2021
Serial number | Instrument type | Last calibrated (yr) | SRin_calcoef | SRout_calcoef | LRin_calcoef | LRout_calcoef | Located where | Installation year | Comment
010343 | CNR1 | 2021 | 9 | 9 | 9 | 9 | GEUS
030710 | CNR1 | 2017 | 11.89 | 11.89 | 11.89 | 11.89 | QAS_U AWSv2 | 2019 | PROMICE
071365 | CNR1 | 2016 | 11.43 | 11.43 | 11.43 | 11.43 | KAN_L | 2017 | Returned to GEUS 2021
071367 | CNR1 | 2018 | 6.74 | 6.74 | 6.74 | 6.74 | UPE_U | 2018 | PROMICE
071564 | CNR1 | 2021 | 8.82 | 8.82 | 8.82 | 8.82 | GEUS
080023 | CNR1 | 2021 | 7.88 | 7.88 | 7.88 | 7.88 | GEUS
080024 | CNR1 | 2018 | 10.09 | 10.09 | 10.09 | 10.09 | NUK_K | 2018 | PROMICE
080025 | CNR1 | 2021 | 9.75 | 9.75 | 9.75 | 9.75 | GEUS
080099 | CNR1 | 2012 | 8.76 | 8.76 | 8.76 | 8.76 | KAN_M | 2012 | PROMICE
080101 | CNR1 | 2013 | 12.71 | 12.71 | 12.71 | 12.71 | EGP | 2016 | Returned to GEUS 2021
080157 | CNR1 | 2019 | 8.5 | 8.5 | 8.5 | 8.5 | ZAC_A
080161 | CNR1 | 2019 | 12.19 | 12.19 | 12.19 | 12.19 | UPE_L | 2020 | Check calibration year (FMI calibration?)
080163 | CNR1 | 2018 | 8.2 | 8.2 | 8.2 | 8.2 | NUK_U | 2019 | Returned to GEUS 2021
080164 | CNR1 | 2019 | 8.43 | 8.43 | 8.43 | 8.43 | NUK_L | 2020 | PROMICE
080165 | CNR1 | 2019 | 11.73 | 11.73 | 11.73 | 11.73 | ?
080202 | CNR1 | 2021 | 9.65 | 9.65 | 9.65 | 9.65 | GEUS
080612 | CNR1 | 2019 | 11.58 | 11.58 | 11.58 | 11.58 | MIT | 2019 | PROMICE
090113 | CNR4 | 2021 | 17.71 | 16.74 | 9.88 | 7.46 | GEUS
090114 | CNR4 | 2021 | 14.99 | 11.23 | 10.77 | 8.96 | GEUS
090115 | CNR4 | 2014 | 14.84 | 15.78 | 9.33 | 9.36 | THU_L | 2017 | Returned to GEUS 2021
100150 | CNR4 | 2011 | 13.64 | 12.44 | 7.88 | 8.1 | ? | 2011 | Old ZAC_L (likely in Zackenberg)
100428 | CNR4 | 2012 | 12.11 | 12.29 | 6.79 | 9.91 | ? | 2012 | Old ZAK_A and U (likely in Zackenberg)
110560 | CNR4 | 2021 | 17.12 | 17.66 | 8.81 | 10.93 | GEUS
110561 | CNR4 | 2014 | 13.78 | 12.65 | 12.02 | 7.76 | THU_U | 2016 | Old THU_U
110562 | CNR4 | 2019 | 12.2 | 11.15 | 10.28 | 8.24 | KPC_L | 2019 | PROMICE
110722 | CNR4 | 2021 | 15.23 | 14.86 | 14.22 | 8.43 | NUK_U | 2021 | PROMICE
110723 | CNR4 | 2018 | 13.21 | 16.34 | 8.42 | 14.5 | THU_U2 | 2018 | New THU_U
120772 | CNR4 | 2018 | 13.65 | 13.8 | 12.71 | 12.34 | ZAC_U | 2018
120773 | CNR4 | 2018 | 13.96 | 14.27 | 7.97 | 14.31 | ZAC_L | 2018
131306 | CNR4 | 2016 | 11.63 | 12.04 | 10.54 | 12.02 | KAN_B | 2016 | Returned to GEUS 2021
131307 | CNR4 | 2019 | 16.94 | 10.77 | 13.39 | 11.97 | KPC_U | 2019 | PROMICE
131451 | CNR4 | 2021 | 15.89 | 15.94 | 10.92 | 9.73 | GEUS
150710 | CNR4 | 2021 | 11.47 | 11.86 | 14.13 | 12.84 | EGP | 2021 | GC-NET
150711 | CNR4 | 2021 | 12.7 | 12.64 | 14.28 | 10.86 | ?
171267 | CNR4 | 2019 | 13.35 | 13.86 | 13.67 | 14.84 | TAS_A | 2020 | PROMICE
171315 | CNR4 | 2018 | 15.47 | 13.29 | 12.12 | 10.92 | NUK_U AWSv3 | 2020 | Back to GEUS june 2021
171513 | CNR4 | 2018 | 11.54 | 11.07 | 13.74 | 11.7 | CEN | 2018 | Returned to GEUS 2021
171514 | CNR4 | 2018 | 11.59 | 14.49 | 11.69 | 12.09 | QAS_M | 2018 | Returned to GEUS 2021
171515 | CNR4 | 2018 | 12.69 | 13.07 | 11.67 | 14.1 | QAS_L | 2018 | Returned to GEUS 2021
171516 | CNR4 | 2018 | 12.87 | 14.79 | 11.92 | 14.57 | KAN_U | 2018 | Returned to GEUS 2021
181891 | CNR4 | 2018 | 15.36 | 13.15 | 12.25 | 10.9 | TAS_L | 2019 | PROMICE
202379 | CNR4 | 2020 | 13.67 | 11.81 | 14.02 | 14.29 | ?
202380 | CNR4 | 2020 | 14.02 | 12 | 14.54 | 11.8 | SCO_L | 2020 | PROMICE
202381 | CNR4 | 2020 | 13.29 | 12.83 | 13.79 | 13.87 | ? | 2020 | GC-Net (SWC or JAR1)
202382 | CNR4 | 2020 | 12 | 18 | 14.03 | 11.63 | ? | 2020 | GC-Net (SWC or JAR1)
202383 | CNR4 | 2020 | 13.41 | 12.91 | 14.49 | 11.2 | SCO_U | 2020 | PROMICE
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_L | 2021 | PROMICE
202703 | CNR4 | 2020 | 15.77 | 16.81 | 14.41 | 14.41 | ?
202704 | CNR4 | 2020 | 13.41 | 15 | 12.67 | 10.05 | KAN_B | 2021 | PROMICE
202705 | CNR4 | 2020 | 14.62 | 14.79 | 11.64 | 13.63 | KAN_U | 2021 | PROMICE
202706 | CNR4 | 2020 | 15.72 | 14.41 | 11.08 | 10.92 | THU_L | 2021 | PROMICE
212886 | CNR4 | 2020 | 14.08 | 14.51 | 15.14 | 9.41 | NUK_U AWSv3 | 2021 | Returned to GEUS 2021
212887 | CNR4 | 2021 | 14.75 | 14.44 | 9.71 | 8.76 | SDM | 2021 | GC-Net
212888 | CNR4 | 2021 | 14.52 | 13.36 | 10.46 | 11.31 | CEN | 2021 | GC-Net
212889 | CNR4 | 2021 | 14.1 | 14.32 | 10.55 | 11.71 | QAS_M | 2021 | PROMICE
212890 | CNR4 | 2021 | 12.66 | 13.9 | 8.55 | 11.26 | NSE | 2021 | GC-Net
212891 | CNR4 | 2021 | 13.28 | 11.64 | 10.8 | 10.11 | QAS_L | 2021 | PROMICE
212892 | CNR4 | 2021 | 14.8 | 12.8 | 11.2 | 11.89 | NEM | 2021 | GC-Net
212893 | CNR4 | 2021 | 15.72 | 12.18 | 10.94 | 11.46 | CP1 | 2021 | GC-Net
212894 | CNR4 | 2021 | 12.94 | 13.16 | 11.06 | 9.64 | NASA_U | 2021 | GC-Net
212895 | CNR4 | 2021 | 15.59 | 11.51 | 11.49 | 11.13 | SDL | 2021 | GC-Net
999999 | CNR4 | [5 empty] | QAS_U AWSv3 | 2019 | PROMICE
999999 | CNR4 | [5 empty] | NUK_U AWSv3 | 2021 | PROMICE
Discontinued Instruments
080157 | CNR1 | No, this is on ZAC_A | [6 empty] | Discontinued in 2021
080165 | CNR1 | [7 empty] | Discontinued in 2021
080100 | CNR1 | [7 empty] | Discontinued in 2021
071368 | CNR1 | [7 empty] | Discontinued in 2021

## 2022
Serial number | Instrument type | Last calibrated (yr) | SRin_calcoef | SRout_calcoef | LRin_calcoef | LRout_calcoef | Located where | Installation year | Comment
010343 | CNR1 | 2021 | 9 | 9 | 9 | 9 | QAS_L | 2022 | PROMICE
030710 | CNR1 | 2017 | 11.89 | 11.89 | 11.89 | 11.89 | QAS_U AWSv2 | 2019 | PROMICE
071365 | CNR1 | 2022 | 11.38 | 11.38 | 11.38 | 11.38 | TAS_A | 2022 | PROMICE
071367 | CNR1 | 2018 | 6.74 | 6.74 | 6.74 | 6.74 | UPE_U | 2018 | PROMICE
071564 | CNR1 | 2021 | 8.82 | 8.82 | 8.82 | 8.82 | NUK_K | 2022 | Shipped for NUK_K
080023 | CNR1 | 2021 | 7.88 | 7.88 | 7.88 | 7.88 | QAS_M | 2022 | PROMICE
080024 | CNR1 | 2018 | 10.09 | 10.09 | 10.09 | 10.09 | NUK_K | 2018 | PROMICE
080025 | CNR1 | 2021 | 9.75 | 9.75 | 9.75 | 9.75 | NUK_L | 2022 | PROMICE
080099 | CNR1 | 2012 | 8.76 | 8.76 | 8.76 | 8.76 | KAN_M | 2012 | Shipped back to GEUS
080101 | CNR1 | 2022 | 12.08 | 12.08 | 12.08 | 12.08 | GEUS |  | Calibrated 2022
080157 | CNR1 | 2018 | 8.5 | 8.5 | 8.5 | 8.5 | ZAC_T
080161 | CNR1 | 2018 | 12.19 | 12.19 | 12.19 | 12.19 | UPE_L | 2020 | Check calibration year (FMI calibration?)
080163 | CNR1 | 2022 | 8.27 | 8.27 | 8.27 | 8.27 | GEUS |  | Shipped for MIT/TAS (shipped back to GEUS/not used)
080164 | CNR1 | 2018 | 8.43 | 8.43 | 8.43 | 8.43 | NUK_L | 2020 | Shipped back to GEUS
080165 | CNR1 | 2018 | 11.73 | 11.73 | 11.73 | 11.73 | ?
080202 | CNR1 | 2021 | 9.65 | 9.65 | 9.65 | 9.65 | KAN_M | 2022 | PROMICE
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | ? | ?
080303 | CNR1 | 2013 |  |  |  |  | GEUS | ? | Cal needed.
080612 | CNR1 | 2019 | 11.58 | 11.58 | 11.58 | 11.58 | MIT | 2019 | PROMICE
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | GEUS |  | Calibrated 2022
090113 | CNR4 | 2021 | 17.71 | 16.74 | 9.88 | 7.46 | GEUS
090114 | CNR4 | 2021 | 14.99 | 11.23 | 10.77 | 8.96 | GEUS |  | On roof GEUS PROMICE v3
090115 | CNR4 | 2022 | 14.49 | 15.43 | 9.61 | 9.61 | CP1 | 2022 | GC-NET
100150 | CNR4 | 2011 | 13.64 | 12.44 | 7.88 | 8.1 | ? | 2011 | Old ZAC_L (likely in Zackenberg)
100428 | CNR4 | 2012 | 12.11 | 12.29 | 6.79 | 9.91 | ? | 2012 | Old ZAK_T and U (likely in Zackenberg)
110560 | CNR4 | 2021 | 17.12 | 17.66 | 8.81 | 10.93 | ZAC_Uv3 | 2022 | GEM
110561 | CNR4 | 2014 | 13.78 | 12.65 | 12.02 | 7.76 | THU_U | 2016 | Shipped back to GEUS
110562 | CNR4 | 2019 | 12.2 | 11.15 | 10.28 | 8.24 | KPC_L | 2019 | PROMICE
110722 | CNR4 | 2021 | 15.23 | 14.86 | 14.22 | 8.43 | NUK_U | 2021 | PROMICE
110723 | CNR4 | 2018 | 13.21 | 16.34 | 8.42 | 14.5 | THU_U2 | 2018 | Shipped back to GEUS
120772 | CNR4 | 2018 | 13.65 | 13.8 | 12.71 | 12.34 | ?
120773 | CNR4 | 2018 | 13.96 | 14.27 | 7.97 | 14.31 | ZAC_U | 2018 | GEM
131306 | CNR4 | 2021 | 11.64 | 12.07 | 10.47 | 11.98 | WEG_B | 2022 | Calibrated 2021
131307 | CNR4 | 2019 | 16.94 | 10.77 | 13.39 | 11.97 | KPC_U | 2019 | PROMICE
131451 | CNR4 | 2021 | 15.89 | 15.94 | 10.92 | 9.73 | ZAC_Lv3 | 2022 | GEM
150710 | CNR4 | 2021 | 14.13 | 12.84 | 11.47 | 11.86 | EGP | 2021 | GC-NET
150711 | CNR4 | 2021 | 12.7 | 12.64 | 14.28 | 10.86 | GEUS |  | Ready
171267 | CNR4 | 2018 | 13.35 | 13.86 | 13.67 | 14.84 | TAS_L | 2022 | PROMICE
171315 | CNR4 | 2018 | 15.47 | 13.29 | 12.12 | 10.92 | NUK_U AWSv3 | 2020 | Back to GEUS june 2021
171513 | CNR4 | 2022 | 11.61 | 11.59 | 13.33 | 11.5 | SWC_O | 2022 | GC_NET
171514 | CNR4 | 2022 | 10.05 | 14.53 | 11.51 | 11.82 | JAR_O | 2022 | GC-NET
171515 | CNR4 | 2022 | 12.87 | 13.09 | 11.28 | 13.83 | KPC_Uv3 | 2022 | PROMICE
171516 | CNR4 | 2022 | 12.99 | 14.88 | 11.57 | 14.37 | WEG_L | 2022 | PROMICE
171517 | CNR4 | 2017 | 15.28 | 13.89 | 12.57 | 11.21 | UWN | 2017 | Calibration needed, University of West Norway
181890 | CNR4 | 2018 | 16.13 | 12.01 | 13.56 | 11.54 | ZAC_L | 2020 | GEM
181891 | CNR4 | 2018 | 15.36 | 13.15 | 12.25 | 10.9 | TAS_L | 2019 | Shipped back to GEUS
202379 | CNR4 | 2020 | 13.67 | 11.81 | 14.02 | 14.29 | THU_U2 | 2022 | PROMICE
202380 | CNR4 | 2020 | 14.02 | 12 | 14.54 | 11.8 | SCO_L | 2020 | Shipped back to GEUS
202381 | CNR4 | 2020 | 13.29 | 12.83 | 13.79 | 13.87 | JAR | 2020 | GC-Net
202382 | CNR4 | 2020 | 12 | 18 | 14.03 | 11.63 | SWC | 2020 | GC-Net
202383 | CNR4 | 2020 | 13.41 | 12.91 | 14.49 | 11.2 | SCO_U | 2020 | Shipped back to GEUS
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_L | 2021 | PROMICE
202703 | CNR4 | 2020 | 15.77 | 16.81 | 14.41 | 14.41 | THU_L2 | 2022 | PROMICE
202704 | CNR4 | 2020 | 13.41 | 15 | 12.67 | 10.05 | KAN_B | 2021 | PROMICE
202705 | CNR4 | 2020 | 14.62 | 14.79 | 11.64 | 13.63 | KAN_U | 2021 | PROMICE
202706 | CNR4 | 2020 | 15.72 | 14.41 | 11.08 | 10.92 | THU_L | 2021 | PROMICE
212886 | CNR4 | 2021 | 14.08 | 14.51 | 15.14 | 9.41 | QAS_Lv3 | 2022 | PROMICE
212887 | CNR4 | 2021 | 14.75 | 14.44 | 9.71 | 8.76 | SDM | 2021 | GC-Net
212888 | CNR4 | 2021 | 14.52 | 13.36 | 10.46 | 11.31 | CEN | 2021 | GC-Net
212889 | CNR4 | 2021 | 14.1 | 14.32 | 10.55 | 11.71 | QAS_M | 2021 | Shipped back to GEUS
212890 | CNR4 | 2021 | 12.66 | 13.9 | 8.55 | 11.26 | NSE | 2021 | GC-Net
212891 | CNR4 | 2021 | 13.28 | 11.64 | 10.8 | 10.11 | QAS_L | 2021 | Shipped back to GEUS
212892 | CNR4 | 2021 | 14.8 | 12.8 | 11.2 | 11.89 |  | 2021 | GC-Net
212893 | CNR4 | 2021 | 15.72 | 12.18 | 10.94 | 11.46 | ?
212894 | CNR4 | 2021 | 12.94 | 13.16 | 11.06 | 9.64 | NAU | 2021 | GC-Net
212895 | CNR4 | 2021 | 15.59 | 11.51 | 11.49 | 11.13 | SDL | 2021 | GC-Net
213148 | CNR4 | 2021 | 12.25 | 12.2 | 9.08 | 10.62 | NEM | 2022 | GC-Net
213149 | CNR4 | 2021 | 11.09 | 12.61 | 7.83 | 9.63 | TUN | 2022 | GC-NET
213154 | CNR4 | 2021 | 13.34 | 11.9 | 9.63 | 9.72 | GEUS | 2022 | GEUS_roof GC-NET
213155 | CNR4 | 2021 | 12.64 | 12.41 | 9.25 | 9.45 | DY2 | 2022 | GC-NET
213250 | CNR4 | 2021 | 10.25 | 14.32 | 10.16 | 14.13 | GEUS
213251 | CNR4 | 2021 | 11.9 | 13.24 | 9.3 | 10.46 | ? | 2022
213252 | CNR4 | 2021 | 13.79 | 14.71 | 9.79 | 9.92 | NUK_Uv3 | 2022 | PROMICE
213253 | CNR4 | 2021 | 13.05 | 13.34 | 10.12 | 8.95 | SCO_U | 2022 | PROMICE
213254 | CNR4 | 2021 | 12.94 | 12.94 | 8.51 | 10.59 | GEUS
213255 | CNR4 | 2021 | 11.55 | 11.46 | 9.7 | 10.42 | GEUS
213256 | CNR4 | 2021 | 11.13 | 13.44 | 10.68 | 8.85 | HUM | 2022 | GC-NET
213257 | CNR4 | 2021 | 13.81 | 13.28 | 9.33 | 8.76 | QAS_Uv3 | 2022 | PROMICE
213270 | CNR4 | 2021 | 13.58 | 12.69 | 9.4 | 9.65 | GEUS
213271 | CNR4 | 2021 | 12.26 | 12.93 | 9.89 | 9.06 | SCO_L | 2022 | PROMICE
213288 | CNR4 | 2021 | 13.57 | 13.31 | 10.28 | 10.78 | NAE | 2022 | GC-NET
223318 | CNR4 | 2021 | 12.44 | 14.19 | 9.26 | 9.42 | KPC_Lv3 | 2022 | PROMICE
999999 | CNR4 | [5 empty] | QAS_U AWSv3 | 2019 | Shipped back to GEUS
999999 | CNR4 | [5 empty] | NUK_U AWSv3 | 2021 | Shipped back to GEUS
Discontinued Instruments
080157 | CNR1 | No, this is on ZAC_A | [6 empty] | Discontinued in 2021
080165 | CNR1 | [7 empty] | Discontinued in 2021
080100 | CNR1 | [7 empty] | Discontinued in 2021
071368 | CNR1 | [7 empty] | Discontinued in 2021

## 2023
Serial number | Instrument type | Last calibrated (yr) | SRin_calcoef | SRout_calcoef | LRin_calcoef | LRout_calcoef | Located where | Installation year | Comment
010343 | CNR1 | 2021 | 9 | 9 | 9 | 9 | QAS_L | 2022 | PROMICE
030710 | CNR1 | 2024 | 11.91 | 11.91 | 11.91 | 11.91 | GEUS |  | Ready for shipment
071364 | CNR1 | 2024 | 12.14 | 12.14 | 12.14 | 12.14 | GEUS |  | Ready for shipment
071365 | CNR1 | 2022 | 11.38 | 11.38 | 11.38 | 11.38 | TAS_A | 2022 | PROMICE
071367 | CNR1 | 2024 | 6.96 | 6.96 | 6.96 | 6.96 | GEUS |  | Ready for shipment
071564 | CNR1 | 2021 | 8.82 | 8.82 | 8.82 | 8.82 | NUK_K | 2022 | Returned to GEUS 2023
080023 | CNR1 | 2024 | 7.88 | 7.88 | 7.88 | 7.88 | GEUS |  | Ready for shipment
080024 | CNR1 | 2023 | 10.06 | 10.06 | 10.06 | 10.06 | EGP | 2023 | GC-NET
080025 | CNR1 | 2021 | 9.75 | 9.75 | 9.75 | 9.75 | NUK_L | 2022 | PROMICE
080069 | CNR! | 2024 | 11.29 | 11.29 | 11.29 | 11.29 | GEUS |  | Ready for shipment
080099 | CNR1 | 2023 | 8.73 | 8.73 | 8.73 | 8.73 | GEUS |  | Ready for shipment
080101 | CNR1 | 2022 | 12.08 | 12.08 | 12.08 | 12.08 | MIT | 2023 | PROMICE
080157 | CNR1 | 2018 | 8.5 | 8.5 | 8.5 | 8.5 | ZAC_T
080161 | CNR1 | 2024 | 12.19 | 12.19 | 12.19 | 12.19 | GEUS |  | Ready for shipment
080163 | CNR1 | 2022 | 8.27 | 8.27 | 8.27 | 8.27 | GEUS |  | Shipped for MIT/TAS (shipped back to GEUS/not used)
080164 | CNR1 | 2023 | 8.65 | 8.65 | 8.65 | 8.65 | TAS_L | 2023 | PROMICE
080165 | CNR1 | 2018 | 11.73 | 11.73 | 11.73 | 11.73 | ?
080202 | CNR1 | 2021 | 9.65 | 9.65 | 9.65 | 9.65 | KAN_M | 2022 | PROMICE
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | ? | ?
080303 | CNR1 | 2013 |  |  |  |  | GEUS | ? | Cal needed.
080612 | CNR1 | 2019 | 11.58 | 11.58 | 11.58 | 11.58 | MIT | 2019 | PROMICE
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | GEUS |  | Calibrated 2022
090113 | CNR4 | 2021 | 17.71 | 16.74 | 9.88 | 7.46 | GEUS
090114 | CNR4 | 2021 | 14.99 | 11.23 | 10.77 | 8.96 | GEUS |  | On roof GEUS PROMICE v3
090115 | CNR4 | 2022 | 14.49 | 15.43 | 9.61 | 9.61 | CP1 | 2022 | GC-NET
100150 | CNR4 | 2011 | 13.64 | 12.44 | 7.88 | 8.1 | ? | 2011 | Old ZAC_L (likely in Zackenberg)
100428 | CNR4 | 2012 | 12.11 | 12.29 | 6.79 | 9.91 | ? | 2012 | Old ZAK_T and U (likely in Zackenberg)
110560 | CNR4 | 2021 | 17.12 | 17.66 | 8.81 | 10.93 | ZAC_Uv3 | 2022 | GEM
110561 | CNR4 | 2023 | 13.33 | 12.27 | 12.25 | 8.11 | GEUS |  | Ready for shipment
110562 | CNR4 | 2019 | 12.2 | 11.15 | 10.28 | 8.24 | KPC_L | 2019 | PROMICE
110722 | CNR4 | 2024 | 15.16 | 14.82 | 14.27 | 8.41 | GEUS |  | Ready for shipment
110723 | CNR4 | 2023 | 13.06 | 16.16 | 8.35 | 14.38 | GEUS |  | Ready for shipment
120772 | CNR4 | 2023 | 13.38 | 13.6 | 12.46 | 12.27 | GEUS |  | Ready for shipment
120773 | CNR4 | 2018 | 13.96 | 14.27 | 7.97 | 14.31 | ZAC_U | 2018 | GEM
131306 | CNR4 | 2021 | 11.64 | 12.07 | 10.47 | 11.98 | WEG_B | 2022 | Calibrated 2021
131307 | CNR4 | 2019 | 16.94 | 10.77 | 13.39 | 11.97 | KPC_U | 2019 | PROMICE
131451 | CNR4 | 2021 | 15.89 | 15.94 | 10.92 | 9.73 | ZAC_Lv3 | 2022 | GEM
131455 | CNR4 | 2023 | 10.31 | 12.2 | 10.78 | 11.25 | DY2 | 2023 | GC-NET
140439 | CNR4 | 2023 | 10.23 | 10.43 | 11.61 | 9.84 | QAS_Mv3 | 2023 | PROMICE
150710 | CNR4 | 2024 | 14 | 12.71 | 11.42 | 11.84 | GEUS |  | Ready for shipment
150711 | CNR4 | 2023 | 12.41 | 12.37 | 14 | 10.72 | NUK_B | 2023 | GEM
171267 | CNR4 | 2024 | 13.41 | 13.88 | 13.59 | 14.91 | GEUS |  | Ready for shipment
171315 | CNR4 | 2023 | 15.16 | 13.07 | 12 | 10.86 | GEUS |  | Ready for shipment
171513 | CNR4 | 2022 | 11.61 | 11.59 | 13.33 | 11.5 | SWC_O | 2022 | GC-NET
171514 | CNR4 | 2022 | 10.05 | 14.53 | 11.51 | 11.82 | JAR_O | 2022 | GC-NET
171515 | CNR4 | 2022 | 12.87 | 13.09 | 11.28 | 13.83 | KPC_Uv3 | 2022 | PROMICE
171516 | CNR4 | 2022 | 12.99 | 14.88 | 11.57 | 14.37 | WEG_L | 2022 | PROMICE
171517 | CNR4 | 2024 | 15.45 | 13.97 | 12.22 | 11.16 | GEUS | 2024 | Ready for shipment
181890 | CNR4 | 2018 | 16.13 | 12.01 | 13.56 | 11.54 | ZAC_L | 2020 | GEM
181891 | CNR4 | 2023 | 11.73 | 15.15 | 13.77 | 13.99 | KAN_Lv3 | 2023 | PROMICE
182012 | CNR4 | 2024 | 12.01 | 11.17 | 12.68 | 11.29 | GEUS |  | Rainer Prinz radiometer
202379 | CNR4 | 2020 | 13.67 | 11.81 | 14.02 | 14.29 | THU_U2 | 2022 | PROMICE
202380 | CNR4 | 2023 | 13.91 | 11.91 | 14.69 | 11.93 | GEUS |  | Ready for shipment
202381 | CNR4 | 2020 | 13.29 | 12.83 | 13.79 | 13.87 | JAR | 2020 | GC-Net
202382 | CNR4 | 2020 | 12 | 18 | 14.03 | 11.63 | SWC | 2020 | GC-Net
202383 | CNR4 | 2023 | 13.28 | 12.87 | 14.53 | 11.45 | UWN | 2023 | PROMICE
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_L | 2021 | PROMICE
202703 | CNR4 | 2020 | 15.77 | 16.81 | 14.41 | 14.41 | THU_L2 | 2022 | PROMICE
202704 | CNR4 | 2020 | 13.41 | 15 | 12.67 | 10.05 | KAN_B | 2021 | PROMICE
202705 | CNR4 | 2024 | 14.63 | 14.79 | 11.77 | 13.94 | GEUS |  | Ready for shipment
202706 | CNR4 | 2020 | 15.72 | 14.41 | 11.08 | 10.92 | THU_L | 2021 | PROMICE
212886 | CNR4 | 2021 | 14.08 | 14.51 | 15.14 | 9.41 | QAS_Lv3 | 2022 | PROMICE
212887 | CNR4 | 2021 | 14.75 | 14.44 | 9.71 | 8.76 | SDM | 2021 | GC-Net
212888 | CNR4 | 2021 | 14.52 | 13.36 | 10.46 | 11.31 | CEN | 2021 | GC-Net
212889 | CNR4 | 2023 | 14.26 | 14.13 | 10.34 | 11.55 | NUK_K | 2023 | GEM
212890 | CNR4 | 2021 | 12.66 | 13.9 | 8.55 | 11.26 | NSE | 2021 | GC-Net
212891 | CNR4 | 2023 | 13.22 | 11.51 | 10.53 | 9.96 | GEUS |  | Ready for shipment
212892 | CNR4 | 2023 | 14.65 | 12.62 | 11.1 | 11.92 | GEUS |  | Ready for shipment
212893 | CNR4 | 2023 | 15.55 | 12.08 | 10.69 | 11.27 | GEUS |  | Ready for shipment
212894 | CNR4 | 2024 | 12.99 | 13.14 | 11.02 | 9.75 | GEUS |  | Ready for shipment
212895 | CNR4 | 2021 | 15.59 | 11.51 | 11.49 | 11.13 | SDL | 2021 | GC-Net
213148 | CNR4 | 2021 | 12.25 | 12.2 | 9.08 | 10.62 | NEM | 2022 | GC-Net
213149 | CNR4 | 2021 | 11.09 | 12.61 | 7.83 | 9.63 | TUN | 2022 | GC-NET
213154 | CNR4 | 2021 | 13.34 | 11.9 | 9.63 | 9.72 | GEUS | 2022 | GEUS_roof GC-NET
213155 | CNR4 | 2021 | 12.64 | 12.41 | 9.25 | 9.45 | DY2 | 2022 | Shipped back to GEUS
213250 | CNR4 | 2023 | 10.13 | 14.11 | 9.92 | 13.96 | GEUS |  | Ready for shipment
213251 | CNR4 | 2023 | 11.54 | 13.05 | 9.05 | 10.43 | NAU | 2023 | GC-NET
213252 | CNR4 | 2021 | 13.79 | 14.71 | 9.79 | 9.92 | NUK_Uv3 | 2022 | PROMICE
213253 | CNR4 | 2021 | 13.05 | 13.34 | 10.12 | 8.95 | SCO_U | 2022 | PROMICE
213254 | CNR4 | 2021 | 12.94 | 12.94 | 8.51 | 10.59 | ZAK_A | 2023 | GEM
213255 | CNR4 | 2024 | 12.63 | 12.37 | 9.22 | 9.54 | GEUS |  | Ready for shipment
213256 | CNR4 | 2021 | 11.13 | 13.44 | 10.68 | 8.85 | HUM | 2022 | GC-NET
213257 | CNR4 | 2021 | 13.81 | 13.28 | 9.33 | 8.76 | QAS_Uv3 | 2022 | PROMICE
213270 | CNR4 | 2023 | 13.59 | 12.66 | 9.34 | 9.57 | KAN_U | 2023 | GC_NET
213271 | CNR4 | 2021 | 12.26 | 12.93 | 9.89 | 9.06 | SCO_L | 2022 | PROMICE
213288 | CNR4 | 2021 | 13.57 | 13.31 | 10.28 | 10.78 | NAE | 2022 | GC-NET
223318 | CNR4 | 2021 | 12.44 | 14.19 | 9.26 | 9.42 | KPC_Lv3 | 2022 | PROMICE
233746 | CNR4 | 2021 | 13.52 | 12.87 | 14.55 | 8.59 | UPE_U | 2023 | PROMICE
233747 | CNR4 | 2021 | 12.41 | 11.04 | 9.64 | 9.94 | GEUS
233748 | CNR4 | 2021 | 12.96 | 13.34 | 9.67 | 9.09 | UPE_L | 2023 | PROMICE
244249 | CNR4 | 2024 | 11.86 | 12.72 | 9.55 | 8.99 | GEUS |  | Ready for shipment
244326 | CNR4 | 2024 | 13.74 | 14.34 | 7.72 | 11.44 | GEUS |  | Ready for shipment
244327 | CNR4 | 2024 | 14.47 | 14.73 | 10.46 | 10.43 | GEUS |  | Ready for shipment
244328 | CNR4 | 2024 | 13.87 | 14.95 | 10.24 | 11.05 | GEUS |  | Ready for shipment
Discontinued Instruments
080157 | CNR1 | No, this is on ZAC_A | [6 empty] | Discontinued in 2021
080165 | CNR1 | [7 empty] | Discontinued in 2021
080100 | CNR1 | [7 empty] | Discontinued in 2021
071368 | CNR1 | [7 empty] | Discontinued in 2021

## 2024
Serial number | Instrument type | Last calibrated (yr) | SRin_calcoef | SRout_calcoef | LRin_calcoef | LRout_calcoef | Located where | Installation year | Comment
010343 | CNR1 | 2021 | 9 | 9 | 9 | 9 | ORO | 2024 | Århus station at Ole Rømer Observatory
030710 | CNR1 | 2024 | 11.91 | 11.91 | 11.91 | 11.91 | GEUS |  | Ready for shipment
071364 | CNR1 | 2024 | 12.14 | 12.14 | 12.14 | 12.14 | GEUS |  | Ready for shipment
071365 | CNR1 | 2022 | 11.38 | 11.38 | 11.38 | 11.38 | TAS_A | 2022 | Returned to geus
071367 | CNR1 | 2024 | 6.96 | 6.96 | 6.96 | 6.96 | GEUS |  | Ready for shipment
071564 | CNR1 | 2024 | 8.69 | 8.69 | 8.69 | 8.69 | GEUS |  | Ready for shipment
080023 | CNR1 | 2024 | 7.88 | 7.88 | 7.88 | 7.88 | KAN_B | 2024 | PROMICE
080024 | CNR1 | 2023 | 10.06 | 10.06 | 10.06 | 10.06 | EGP | 2023 | shipped home
080025 | CNR1 | 2021 | 9.75 | 9.75 | 9.75 | 9.75 | NUK_L | 2022 | PROMICE
080069 | CNR1 | 2024 | 11.29 | 11.29 | 11.29 | 11.29 | GEUS |  | Ready for shipment
080099 | CNR1 | 2023 | 8.73 | 8.73 | 8.73 | 8.73 | THU_L2 | 2024 | PROMICE
080101 | CNR1 | 2022 | 12.08 | 12.08 | 12.08 | 12.08 | MIT | 2023 | PROMICE
080157 | CNR1 | 2018 | 8.5 | 8.5 | 8.5 | 8.5 | ZAC_T
080161 | CNR1 | 2024 | 12.19 | 12.19 | 12.19 | 12.19 | GEUS |  | Ready for shipment
080163 | CNR1 | 2022 | 8.27 | 8.27 | 8.27 | 8.27 | GEUS |  | Shipped for MIT/TAS (shipped back to GEUS/not used)
080164 | CNR1 | 2023 | 8.65 | 8.65 | 8.65 | 8.65 | TAS_L | 2023 | PROMICE
080165 | CNR1 | 2018 | 11.73 | 11.73 | 11.73 | 11.73 | ?
080202 | CNR1 | 2021 | 9.65 | 9.65 | 9.65 | 9.65 | KAN_M | 2022 | Shipped back to GEUS
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | ? | ?
080303 | CNR1 | 2013 |  |  |  |  | GEUS | ? | Cal needed.
080612 | CNR1 | 2024 | 11.75 | 11.75 | 11.75 | 11.75 | GEUS |  | Ready for shipment
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | GEUS |  | Calibrated 2022
090113 | CNR4 | 2021 | 17.71 | 16.74 | 9.88 | 7.46 | GEUS
090114 | CNR4 | 2021 | 14.99 | 11.23 | 10.77 | 8.96 | GEUS | 2023 | On roof GEUS PROMICE v3
090115 | CNR4 | 2022 | 14.49 | 15.43 | 9.61 | 9.61 | CP1 | 2022 | GC-NET
100150 | CNR4 | 2011 | 13.64 | 12.44 | 7.88 | 8.1 | ? | 2011 | Old ZAC_L (likely in Zackenberg)
100428 | CNR4 | 2012 | 12.11 | 12.29 | 6.79 | 9.91 | ? | 2012 | Old ZAK_T and U (likely in Zackenberg)
110560 | CNR4 | 2021 | 17.12 | 17.66 | 8.81 | 10.93 | ZAC_Uv3 | 2022 | GEM (Shipped for calibration)
110561 | CNR4 | 2023 | 13.33 | 12.27 | 12.25 | 8.11 | HUM | 2024 | GC-NET
110562 | CNR4 | 2019 | 16.94 | 10.77 | 13.39 | 11.97 | KPC_L | 2019 | PROMICE
110722 | CNR4 | 2024 | 15.16 | 14.82 | 14.27 | 8.41 | QAS_Uv3 | 2024 | PROMICE
110723 | CNR4 | 2023 | 13.06 | 16.16 | 8.35 | 14.38 | SDM | 2024 | GC-NET
120772 | CNR4 | 2023 | 13.38 | 13.6 | 12.46 | 12.27 | GEUS |  | Ready for shipment
120773 | CNR4 | 2018 | 13.96 | 14.27 | 7.97 | 14.31 | ZAC_U | 2018 | GEM (Shipped for calibration and repair)
131306 | CNR4 | 2021 | 11.64 | 12.07 | 10.47 | 11.98 | WEG_B | 2022 | Calibrated 2021
131307 | CNR4 | 2019 | 12.2 | 11.15 | 10.28 | 8.24 | KPC_U | 2019 | PROMICE
131451 | CNR4 | 2021 | 15.89 | 15.94 | 10.92 | 9.73 | ZAC_Lv3 | 2022 | GEM
131455 | CNR4 | 2023 | 10.31 | 12.2 | 10.78 | 11.25 | DY2 | 2023 | GC-NET
140439 | CNR4 | 2023 | 10.23 | 10.43 | 11.61 | 9.84 | QAS_Mv3 | 2023 | PROMICE
150710 | CNR4 | 2024 | 14 | 12.71 | 11.42 | 11.84 | GEUS | 2024 | Ready for shipment
150711 | CNR4 | 2023 | 12.41 | 12.37 | 14 | 10.72 | NUK_B | 2023 | GEM
171267 | CNR4 | 2024 | 13.41 | 13.88 | 13.59 | 14.91 | GEUS |  | Ready for shipment
171315 | CNR4 | 2023 | 15.16 | 13.07 | 12 | 10.86 | GEUS |  | Ready for shipment
171513 | CNR4 | 2022 | 11.61 | 11.59 | 13.33 | 11.5 | SWC_O | 2022 | GC-NET
171514 | CNR4 | 2022 | 10.05 | 14.53 | 11.51 | 11.82 | JAR_O | 2022 | GC-NET
171515 | CNR4 | 2022 | 12.87 | 13.09 | 11.28 | 13.83 | KPC_Uv3 | 2022 | PROMICE
171516 | CNR4 | 2022 | 12.99 | 14.88 | 11.57 | 14.37 | WEG_L | 2022 | PROMICE
171517 | CNR4 | 2024 | 15.45 | 13.97 | 12.22 | 11.16 | GEUS | 2024 | Ready for shipment
181890 | CNR4 | 2018 | 16.13 | 12.01 | 13.56 | 11.54 | ZAC_L | 2020 | GEM (Shipped for calibration)
181891 | CNR4 | 2023 | 11.73 | 15.15 | 13.77 | 13.99 | KAN_Lv3 | 2023 | PROMICE
182012 | CNR4 | 2024 | 12.01 | 11.17 | 12.68 | 11.29 | RED_Lv3 | 2024 | Rainer Prinz radiometer
202379 | CNR4 | 2020 | 13.67 | 11.81 | 14.02 | 14.29 | THU_U2 | 2022 | Shipped back to GEUS
202380 | CNR4 | 2023 | 13.91 | 11.91 | 14.69 | 11.93 | KAN_T | 2024 | PROMICE
202381 | CNR4 | 2020 | 13.29 | 12.83 | 13.79 | 13.87 | JAR | 2020 | GC-Net
202382 | CNR4 | 2020 | 12 | 18 | 14.03 | 11.63 | SWC | 2020 | GC-Net
202383 | CNR4 | 2023 | 13.28 | 12.87 | 14.53 | 11.45 | UWN | 2023 | PROMICE
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_L | 2021 | Used for KAN_M
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_M | 2021 | PROMICE
202703 | CNR4 | 2020 | 15.77 | 16.81 | 14.41 | 14.41 | THU_L2 | 2022 | Shipped back to GEUS
202704 | CNR4 | 2020 | 13.41 | 15 | 12.67 | 10.05 | KAN_B | 2021 | Shipped back to GEUS
202705 | CNR4 | 2024 | 14.63 | 14.79 | 11.77 | 13.94 | GEUS |  | Ready for shipment
202706 | CNR4 | 2020 | 15.72 | 14.41 | 11.08 | 10.92 | THU_L | 2021 | PROMICE
212886 | CNR4 | 2021 | 14.08 | 14.51 | 15.14 | 9.41 | QAS_Lv3 | 2022 | PROMICE
212887 | CNR4 | 2021 | 14.75 | 14.44 | 9.71 | 8.76 | SDM | 2021 | Shipped back to GEUS
212888 | CNR4 | 2021 | 14.52 | 13.36 | 10.46 | 11.31 | CEN | 2021 | GC-Net
212889 | CNR4 | 2023 | 14.26 | 14.13 | 10.34 | 11.55 | NUK_K | 2023 | GEM
212890 | CNR4 | 2021 | 12.66 | 13.9 | 8.55 | 11.26 | NSE | 2021 | Shipped back to GEUS
212891 | CNR4 | 2023 | 13.22 | 11.51 | 10.53 | 9.96 | GEUS |  | Ready for shipment
212892 | CNR4 | 2023 | 14.65 | 12.62 | 11.1 | 11.92 | GEUS |  | Ready for shipment
212893 | CNR4 | 2023 | 15.55 | 12.08 | 10.69 | 11.27 | GEUS |  | Ready for shipment
212894 | CNR4 | 2024 | 12.99 | 13.14 | 11.02 | 9.75 | SER_B | 2024 | PROMICE/IGN
212895 | CNR4 | 2021 | 15.59 | 11.51 | 11.49 | 11.13 | SDL | 2021 | Shipped back to GEUS
213148 | CNR4 | 2021 | 12.25 | 12.2 | 9.08 | 10.62 | NEM | 2022 | GC-Net
213149 | CNR4 | 2021 | 11.09 | 12.61 | 7.83 | 9.63 | TUN | 2022 | GC-NET
213154 | CNR4 | 2021 | 13.34 | 11.9 | 9.63 | 9.72 | GEUS | 2022 | GEUS_roof GC-NET
213155 | CNR4 | 2024 | 12.63 | 12.37 | 9.22 | 9.54 | SCO_Uv3 | 2024 | PROMICE
213250 | CNR4 | 2023 | 10.13 | 14.11 | 9.92 | 13.96 | SDL | 2024 | GC-Net
213251 | CNR4 | 2023 | 11.54 | 13.05 | 9.05 | 10.43 | NAU | 2023 | GC-NET
213252 | CNR4 | 2021 | 13.79 | 14.71 | 9.79 | 9.92 | NUK_Uv3 | 2022 | PROMICE
213253 | CNR4 | 2021 | 13.05 | 13.34 | 10.12 | 8.95 | SCO_U | 2022 | Shipped back to GEUS
213254 | CNR4 | 2021 | 12.94 | 12.94 | 8.51 | 10.59 | ZAK_A | 2023 | GEM
213255 | CNR4 | 2024 | 12.63 | 12.37 | 9.22 | 9.54 | GEUS |  | Ready for shipment
213256 | CNR4 | 2021 | 11.13 | 13.44 | 10.68 | 8.85 | HUM | 2022 | Shipped back to GEUS
213257 | CNR4 | 2021 | 13.81 | 13.28 | 9.33 | 8.76 | QAS_Uv3 | 2022 | Shipped back to GEUS
213270 | CNR4 | 2023 | 13.59 | 12.66 | 9.34 | 9.57 | KAN_U | 2023 | GC_NET
213271 | CNR4 | 2021 | 12.26 | 12.93 | 9.89 | 9.06 | SCO_L | 2022 | Shipped back to GEUS
213288 | CNR4 | 2021 | 13.57 | 13.31 | 10.28 | 10.78 | NAE | 2022 | GC-NET
223318 | CNR4 | 2021 | 12.44 | 14.19 | 9.26 | 9.42 | KPC_Lv3 | 2022 | PROMICE
233746 | CNR4 | 2021 | 13.52 | 12.87 | 14.55 | 8.59 | UPE_U | 2023 | PROMICE
233747 | CNR4 | 2021 | 12.41 | 11.04 | 9.64 | 9.94 | THU_U2v3 | 2024 | PROMICE
233748 | CNR4 | 2021 | 12.96 | 13.34 | 9.67 | 9.09 | UPE_L | 2023 | PROMICE
244249 | CNR4 | 2024 | 11.86 | 12.72 | 9.55 | 8.99 | GEUS |  | Ready for shipment
244326 | CNR4 | 2024 | 13.74 | 14.34 | 7.72 | 11.44 | GEUS |  | Ready for shipment
244327 | CNR4 | 2024 | 14.47 | 14.73 | 10.46 | 10.43 | TAS_A | 2024 | PROMICE
244328 | CNR4 | 2024 | 13.87 | 14.95 | 10.24 | 11.05 | NSE | 2024 | GCNET
Discontinued Instruments
080157 | CNR1 | [7 empty] | Discontinued in 2021
080165 | CNR1 | [7 empty] | Discontinued in 2021
080100 | CNR1 | [7 empty] | Discontinued in 2021
071368 | CNR1 | [7 empty] | Discontinued in 2021

## 2025
Serial number | Instrument type | Last calibrated (yr) | SRin_calcoef | SRout_calcoef | LRin_calcoef | LRout_calcoef | Located where | Installation year | Comment
010343 | CNR1 | 2021 | 9 | 9 | 9 | 9 | ORO | 2024 | Århus station at Ole Rømer Observatory
030710 | CNR1 | 2024 | 11.91 | 11.91 | 11.91 | 11.91 | TAS_L | 2025
071364 | CNR1 | 2024 | 12.14 | 12.14 | 12.14 | 12.14 | GEUS |  | Ready for shipment
071365 | CNR1 | 2022 | 11.38 | 11.38 | 11.38 | 11.38 | TAS_A | 2022 | Returned to geus
071367 | CNR1 | 2024 | 6.96 | 6.96 | 6.96 | 6.96 | GEUS |  | Ready for shipment
071564 | CNR1 | 2024 | 8.69 | 8.69 | 8.69 | 8.69 | GEUS |  | Ready for shipment
080023 | CNR1 | 2024 | 7.88 | 7.88 | 7.88 | 7.88 | KAN_B | 2024 | PROMICE
080024 | CNR1 | 2023 | 10.06 | 10.06 | 10.06 | 10.06 | EGP | 2023 | shipped home
080025 | CNR1 | 2021 | 9.75 | 9.75 | 9.75 | 9.75 | NUK_L | 2022 | PROMICE
080069 | CNR1 | 2024 | 11.29 | 11.29 | 11.29 | 11.29 | GEUS |  | Ready for shipment
080099 | CNR1 | 2023 | 8.73 | 8.73 | 8.73 | 8.73 | THU_L2 | 2024 | PROMICE
080101 | CNR1 | 2022 | 12.08 | 12.08 | 12.08 | 12.08 | MIT | 2023 | PROMICE
080157 | CNR1 | 2018 | 8.5 | 8.5 | 8.5 | 8.5 | ZAC_T
080161 | CNR1 | 2024 | 12.19 | 12.19 | 12.19 | 12.19 | GEUS |  | Ready for shipment
080163 | CNR1 | 2022 | 8.27 | 8.27 | 8.27 | 8.27 | GEUS |  | Shipped for MIT/TAS (shipped back to GEUS/not used)
080164 | CNR1 | 2023 | 8.65 | 8.65 | 8.65 | 8.65 | GEUS |  | Taken down from TAS_L in 2025,shipped back to GEUS
080165 | CNR1 | 2018 | 11.73 | 11.73 | 11.73 | 11.73 | ?
080202 | CNR1 | 2021 | 9.65 | 9.65 | 9.65 | 9.65 | KAN_M | 2022 | Shipped back to GEUS
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | ? | ?
080303 | CNR1 | 2013 |  |  |  |  | GEUS | ? | Cal needed.
080612 | CNR1 | 2024 | 11.75 | 11.75 | 11.75 | 11.75 | GEUS |  | Ready for shipment
080203 | CNR1 | 2022 | 10.1 | 10.1 | 10.1 | 10.1 | GEUS |  | Calibrated 2022
090113 | CNR4 | 2021 | 17.71 | 16.74 | 9.88 | 7.46 | GEUS
090114 | CNR4 | 2021 | 14.99 | 11.23 | 10.77 | 8.96 | GEUS | 2023 | On roof GEUS PROMICE v3
090115 | CNR4 | 2022 | 14.49 | 15.43 | 9.61 | 9.61 | CP1 | 2022 | Shipped home
100150 | CNR4 | 2011 | 13.64 | 12.44 | 7.88 | 8.1 | ? | 2011 | Old ZAC_L (likely in Zackenberg)
100428 | CNR4 | 2012 | 12.11 | 12.29 | 6.79 | 9.91 | ? | 2012 | Old ZAK_T and U (likely in Zackenberg)
110560 | CNR4 | 2025 | 17 | 17.28 | 8.78 | 10.99 | GEUS |  | Ready for shipment
110561 | CNR4 | 2023 | 13.33 | 12.27 | 12.25 | 8.11 | HUM | 2024 | GC-NET
110562 | CNR4 | 2019 | 16.94 | 10.77 | 13.39 | 11.97 | KPC_L | 2019 | PROMICE
110722 | CNR4 | 2024 | 15.16 | 14.82 | 14.27 | 8.41 | QAS_Uv3 | 2024 | PROMICE
110723 | CNR4 | 2023 | 13.06 | 16.16 | 8.35 | 14.38 | SDM | 2024 | GC-NET
120772 | CNR4 | 2023 | 13.38 | 13.6 | 12.46 | 12.27 | GEUS |  | Ready for shipment
120773 | CNR4 | 2018 | 13.96 | 14.27 | 7.97 | 14.31 | ZAC_U | 2018 | GEM (Shipped for calibration and repair)
131306 | CNR4 | 2021 | 11.64 | 12.07 | 10.47 | 11.98 | WEG_B | 2022 | Calibrated 2021
131307 | CNR4 | 2019 | 12.2 | 11.15 | 10.28 | 8.24 | KPC_U | 2019 | PROMICE
131451 | CNR4 | 2021 | 15.89 | 15.94 | 10.92 | 9.73 | ZAC_Lv3 | 2022 | GEM
131455 | CNR4 | 2023 | 10.31 | 12.2 | 10.78 | 11.25 | DY2 | 2023 | GC-NET
140439 | CNR4 | 2023 | 10.23 | 10.43 | 11.61 | 9.84 | QAS_Mv3 | 2023 | PROMICE
150710 | CNR4 | 2024 | 14 | 12.71 | 11.42 | 11.84 | GEUS | 2024 | Ready for shipment
150711 | CNR4 | 2023 | 12.41 | 12.37 | 14 | 10.72 | NUK_B | 2023 | GEM
171267 | CNR4 | 2024 | 13.41 | 13.88 | 13.59 | 14.91 | NAU | 2025 | GC-NET
171315 | CNR4 | 2023 | 15.16 | 13.07 | 12 | 10.86 | GEUS |  | Ready for shipment
171513 | CNR4 | 2022 | 11.61 | 11.59 | 13.33 | 11.5 | SWC_O | 2022 | GC-NET
171514 | CNR4 | 2022 | 10.05 | 14.53 | 11.51 | 11.82 | JAR_O | 2022 | GC-NET
171515 | CNR4 | 2022 | 12.87 | 13.09 | 11.28 | 13.83 | KPC_Uv3 | 2022 | PROMICE
171516 | CNR4 | 2022 | 12.99 | 14.88 | 11.57 | 14.37 | WEG_L | 2022 | PROMICE
171517 | CNR4 | 2024 | 15.45 | 13.97 | 12.22 | 11.16 | SER_B (bav update) | 2024 | PROMICE/IGN
181890 | CNR4 | 2025 | 15.99 | 11.93 | 13.32 | 11.43 | GEUS |  | Ready for shipment
181891 | CNR4 | 2023 | 11.73 | 15.15 | 13.77 | 13.99 | KAN_Lv3 | 2023 | PROMICE
182012 | CNR4 | 2024 | 12.01 | 11.17 | 12.68 | 11.29 | RED_Lv3 | 2024 | Rainer Prinz radiometer
202379 | CNR4 | 2025 | 13.57 | 11.76 | 14.15 | 14.54 | QAS_Uv3 |  | PROMICE
202380 | CNR4 | 2023 | 13.91 | 11.91 | 14.69 | 11.93 | KAN_T | 2024 | PROMICE
202381 | CNR4 | 2020 | 13.29 | 12.83 | 13.79 | 13.87 | JAR | 2020 | GC-Net
202382 | CNR4 | 2020 | 12 | 18 | 14.03 | 11.63 | SWC | 2020 | GC-Net
202383 | CNR4 | 2023 | 13.28 | 12.87 | 14.53 | 11.45 | UWN | 2023 | PROMICE
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_L | 2021 | Used for KAN_M
202702 | CNR4 | 2020 | 15.32 | 14.84 | 10.51 | 11.95 | KAN_M | 2021 | PROMICE
202703 | CNR4 | 2025 | 15.56 | 16.56 | 14.59 | 14.64 | KAN_U | 2025 | GC-NET
202704 | CNR4 | 2025 | 13.37 | 14.88 | 12.8 | 10.31 | GEUS |  | Ready for shipment
202705 | CNR4 | 2024 | 14.63 | 14.79 | 11.77 | 13.94 | NUK_Lv3 | 2025
202706 | CNR4 | 2020 | 15.72 | 14.41 | 11.08 | 10.92 | THU_L | 2021 | PROMICE
212886 | CNR4 | 2021 | 14.08 | 14.51 | 15.14 | 9.41 | QAS_Lv3 | 2022 | PROMICE
212887 | CNR4 | 2025 | 14.56 | 14.29 | 9.51 | 8.81 | CEN2 | 2025 | GC-Net
212888 | CNR4 | 2021 | 14.52 | 13.36 | 10.46 | 11.31 | CEN | 2021 | GC-Net
212889 | CNR4 | 2023 | 14.26 | 14.13 | 10.34 | 11.55 | NUK_K | 2023 | GEM
212890 | CNR4 | 2025 | 12.56 | 13.72 | 8.58 | 11.37 | GEUS |  | Ready for shipment
212891 | CNR4 | 2023 | 13.22 | 11.51 | 10.53 | 9.96 | GEUS |  | Ready for shipment
212892 | CNR4 | 2023 | 14.65 | 12.62 | 11.1 | 11.92 | GEUS |  | Ready for shipment
212893 | CNR4 | 2023 | 15.55 | 12.08 | 10.69 | 11.27 | GEUS |  | Ready for shipment
212894 | CNR4 | 2024 | 12.99 | 13.14 | 11.02 | 9.75 | ? (not SER_B) | 2024
212895 | CNR4 | 2025 | 15.43 | 11.37 | 11.39 | 11.06 | NEM | 2025 | GC-NET
213148 | CNR4 | 2021 | 12.25 | 12.2 | 9.08 | 10.62 | NEM | 2022 | GC-Net
213149 | CNR4 | 2021 | 11.09 | 12.61 | 7.83 | 9.63 | TUN | 2022 | GC-NET
213154 | CNR4 | 2021 | 13.34 | 11.9 | 9.63 | 9.72 | GEUS | 2022 | GEUS_roof GC-NET
213155 | CNR4 | 2024 | 12.63 | 12.37 | 9.22 | 9.54 | SCO_Uv3 | 2024 | PROMICE
213250 | CNR4 | 2023 | 10.13 | 14.11 | 9.92 | 13.96 | SDL | 2024 | GC-Net
213251 | CNR4 | 2023 | 11.54 | 13.05 | 9.05 | 10.43 | NAU | 2023 | Shipped home
213252 | CNR4 | 2021 | 13.79 | 14.71 | 9.79 | 9.92 | NUK_Uv3 | 2022 | PROMICE
213253 | CNR4 | 2024 | 13.09 | 13.26 | 9.95 | 8.98 | GEUS |  | Ready for shipment
213254 | CNR4 | 2021 | 12.94 | 12.94 | 8.51 | 10.59 | ZAK_A | 2023 | GEM
213255 | CNR4 | 2024 | 12.63 | 12.37 | 9.22 | 9.54 | GEUS |  | Ready for shipment
213256 | CNR4 | 2025 | 10.99 | 13.25 | 10.47 | 8.93 | CP1 | 2025 | GC-NET
213257 | CNR4 | 2025 | 13.65 | 13.09 | 9.1 | 8.69 | NUK_Uv3 | 2025 | PROMICE
213270 | CNR4 | 2023 | 13.59 | 12.66 | 9.34 | 9.57 | KAN_U | 2023 | Shipped home
213271 | CNR4 | 2024 | 12.48 | 13.06 | 10.02 | 9.05 | GEUS |  | Ready for shipment
213288 | CNR4 | 2021 | 13.57 | 13.31 | 10.28 | 10.78 | NAE | 2022 | GC-NET
223318 | CNR4 | 2021 | 12.44 | 14.19 | 9.26 | 9.42 | KPC_Lv3 | 2022 | PROMICE
233746 | CNR4 | 2021 | 13.52 | 12.87 | 14.55 | 8.59 | UPE_U | 2023 | PROMICE
233747 | CNR4 | 2021 | 12.41 | 11.04 | 9.64 | 9.94 | THU_U2v3 | 2024 | PROMICE
233748 | CNR4 | 2021 | 12.96 | 13.34 | 9.67 | 9.09 | UPE_L | 2023 | PROMICE
244249 | CNR4 | 2024 | 11.86 | 12.72 | 9.55 | 8.99 | GEUS |  | Ready for shipment
244326 | CNR4 | 2024 | 13.74 | 14.34 | 7.72 | 11.44 | EGP | 2025 | GC-NET
244327 | CNR4 | 2024 | 14.47 | 14.73 | 10.46 | 10.43 | TAS_A | 2024 | PROMICE
244328 | CNR4 | 2024 | 13.87 | 14.95 | 10.24 | 11.05 | NSE | 2024 | GCNET
300019 | CNR4 | 2025 | 12.89 | 12.95 | 8.87 | 9.95 | GEUS |  | Ready for shipment
Discontinued Instruments
080157 | CNR1 | [7 empty] | Discontinued in 2021
080165 | CNR1 | [7 empty] | Discontinued in 2021
080100 | CNR1 | [7 empty] | Discontinued in 2021
071368 | CNR1 | [7 empty] | Discontinued in 2021
Note on H62: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This was installed on KAN T by DVA et al August 2025